## Sheet1
Output Characteristic Device | Output
Number of Output Channels1 - Synchronous, alternating - Method of channel isolation | 1, NA
Waveform2 (e.g., charge balanced biphasic symmetrical, biphasic asymmetrical) | Biphasic Symmetric
Pulse Shape (e.g., rectangular, sinusoidal) | Rectangular
Current/voltage regulated? Compliance voltage (if current source)?
Maximum Output Voltage (specify units) (+/-______%) [voltage should be reported at 500 Ω and at impedances covering the minimum, typical, and maximum range of physiologic impedances for the location being stimulated]
Maximum Output Current (specify units) (+/-______%) [current should be reported at 500 Ω and at impedances covering the minimum, typical, and maximum range of physiologic impedances for the location being stimulated]
For multiphasic waveforms2 : - Symmetrical or Asymmetrical phases? - Phase Duration3 (include units) (state range, if applicable) (both phases, if asymmetrical)
Pulse Duration2, 4 (specify units)
Frequency (Hz)5
Method of Balancing Charge6 | interleaved biphasic pulses
Are charge balancing cycles always completed? | Yes
Net Charge (µC per pulse) @ 500 Ω
Leakage Current8 (nA) @ 500 Ω
Net DC Current9 (µA) at maximum pulse rate @ 500 Ω
Maximum Phase Charge (µC) @ 500 Ω
Maximum Charge Density10 (µC/cm²/phase) @ 500 Ω
Maximum Phase Power (W/phase) @ 500 Ω
Maximum Phase Power Density (W/cm²/phase) @ 500 Ω
Pulse Delivery Mode (continuous/bursts (pulse trains)) | Burs
Burst Delivery11: a. Pulses per burst; b. Bursts per second; c. Burst duration (seconds); and d. Duty Cycle [Line a X Line b]
ON Time12 (seconds)
OFF Time12 (seconds)
Current Path Options13 (bipolar, unipolar, multipolar) | Bipolar
additional Features, if applicable | NA